## Sheet1
Summary of Property Accountabilities
As of
Entity Name |  | : | PRESIDENT RAMON MAGSAYSAY STATE UNIVERSITY
Accountable Officer |  | :
Office/Department |  | :
Campus |  | : | Main Campus - Iba
Reference No./ Date |  |  | Qty | Unit | Article | Description | Property/ Inventory Item No. | Date Acquired | Amount |  | Fund Cluster | Remarks
[9 empty] | Unit Cost | Total Cost
PAR | 2021-07-226 |  | 1 | unit | Laptop Computer | 4 CPU cores, 8 GPU Cores at 1.2 GHz, 8 threads, 2.10 GHz Base Clock, 3.70 GHz Max Boost Clock, 4MB L3 Cache, 8GB RAM, 8GB Graphics Card, 256 GB SSD + 1TB HDD Storage, 15.6" FHD Display, Wifi ¦ Bluetooth Connectivity, licensed 64-bit GUI Brand: HP Pavilion Model: 15-EC0109AX S/N: *5CD042GMTQ, Accessory/ries: Charger with 3 pin to 2 pin power plug adapter ¦ Laptop¦ Bag¦ USB (wired) plug and play optical mouse ****Nothing Follows**** | 106-05-030-20-376 | 2020-12-07 |  | 49795 | 05-2-06-441 (IGF-164) | Note: All item/s listed above are under two(2) years warranty on parts and services.
PAR | 2018-06-043; January 16, 2019 |  | 1 | unit | Metacentric Height | Max. angle of heel: ± 13° Corresponding Linear Dimensions: ±90 mm Pontoon dimensions: Length: 350 mm Width: 200 mm Overall height: 475 mm Compatible with existing hydraulic bench and software SN: 42699-008 | 106-05-140-18-001 | 2018-06-22 |  | 202000 | 01-1-01-101 (RAF-101)
PAR | 2018-06-043; January 16, 2019 |  | 1 | unit | Hydrostatic Pressure | Tank Capacity: 5.5 litters Distance between suspended mass and fulcrum: 275 mm Cross-sectional area of quadrant (torroid): 7.5 x 103 m2 Total depth of completely immersed quadrant: 160mm Height of fulcrum above quadrant: 100 mm Compatible with existing hydraulic bench and software SN: 42640/01 | 106-05-140-18-002 | 2018-06-22 |  | 335000 | 01-1-01-101 (RAF-101)
PAR | 2018-06-043; January 16, 2019 |  | 1 | unit | Bernoulli's Theorem Demonstration | Manometer range: 0 to 300mm Number of manometer tubes: 8 Throat diameter: 10.0 mm Upstream diameter: 25.0 mm Upstream taper: 14° Downstream taper: 21° DEMONSTRATION CAPABILITIES *Demonstrating Bernoulli's Theorem and its limitations *Directly measuring the static and total head distribution along a venturi tube *Determining the meter coefficient at various flow rates Compatible with existing hydraulic bench and software SN: 41316-004 | 106-05-140-18-003 | 2018-06-22 |  | 577000 | 01-1-01-101 (RAF-101)
PAR | 2018-06-043; January 16, 2019 |  | 1 | unit | Osborne Reynold's Demonstration | Overall Dimensions: Height: 1.24 m Width: 0.50 m Depth: 0.33 mm Test pipe diameter: 10.0 mm (precision bore glass) Length of test pipe: 700 mm Dye reservoir capacity: 0.45 L Compatible with existing hydraulic bench and software S/N: 42072-009 | 106-05-140-18-004 | 2018-06-22 |  | 751000 | 01-1-01-101 (RAF-101)
PAR | 2018-06-043; January 16, 2019 |  | 1 | unit | Drainage and Seepage Tank | Brand: FLOJET Length: 1.60 m Width: 0.60 m Height: 1.45 m BASIC ACCESSORIES *Foundation pressure plate *Straight permeable membrane * Curved permeable membrane *Lateral pressure plate *Tile drain *Sand Quantity: Equivalent to the volume of the tank | 106-05-140-18-004 | 2018-06-22 |  | 2892350 | 01-1-01-101 (RAF-101)
PAR | 2018-06-043; January 16, 2019 |  | 1 | unit | AIR CONDITIONING UNIT | Brand: KOLIN 2 HP, Window Type Inverter Type *Should provide 3 days training to faculty (applicable for items 1 to 5) SN: 19031707-15223 | 106-05-990-18-016 | 2018-06-22 |  | 42650 | 01-1-01-101 (RAF-101)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Note: | The Supply & Property Management Services is still in the process of validating and verifying the accuracy, completeness, and existence of Property, Plant, and Equipment (PPE) documents, this list is subject to update if PAR/ICS under the accountable person whose name appears above was found during the process.
Prepared by: | [7 empty] | Certified Correct:
ENGR. TANNY H. FAUSTINO
Staff, Supply & Property Management Services | [7 empty] | Head, Supply & Property Management Services